## Slide 1
Understanding the Origin of Solar Activity and its Impact on Geospace.
Observations of the Solar Atmosphere, Magnetic Field and Irradiance
Galileo Solar Space Telescope | GSST
Development of Instrumentation for Solar Observations at the Brazilian National Institute for Space Research (INPE)
Notes: Incluir o Símbolo da AEB.

## Slide 2
National Institute for Space Research
Research and Development:
Space and Atmospheric Sciences
Earth Observation
Space Engineering and Technology
Integration and Testing Laboratory
Satellite Tracking and Control
Associated Laboratories:
  Sensors and Materials, Plasma, Computing and
  Applied Mathematics, Combustion and Propulsion.

## Slide 3
National Institute for Space Research
Research and Development:
Space and Atmospheric Sciences
Earth Observation
Space Engineering and Technology
Integration and Testing Laboratory
Satellite Tracking and Control
Associated Laboratories:
  Sensors and Materials, Plasma, Computing and
  Applied Mathematics, Combustion and Propulsion.

## Slide 4
National Institute for Space Research
Research and Development:
Space and Atmospheric Sciences
Earth Observation
Space Engineering and Technology
Integration and Testing Laboratory
Satellite Tracking and Control
Associated Laboratories:
  Sensors and Materials, Plasma, Computing and
  Applied Mathematics, Combustion and Propulsion.

## Slide 5
Instituto Nacional de Pesquisas Espaciais

## Slide 6
Scientific Motivation: Investigate the Links Between the Solar Surface, Corona, and Inner Heliosphere
NASA Roadmap

## Slide 7
Development of the Proof of Concept
Magnetograph
Ground Based Solar Telescope
2023
2022
2021
2020
2019
2018
2016
2015
2014
2017
Galileo Solar Space Telescope
Out-of-the-ecliptic Solar Observatory
Project Planning
Understanding the Origin of Solar Activity and its Impact on Geospace.
Out-of-the-Ecliptic Observations of the Solar Atmosphere, Magnetic Field and Irradiance

## Slide 8
Build a Visible and UV light imagers and magnetographs for solar observations.
HMI/AIA/SDO-NASA
Goals

## Slide 9
Wavelength Scan
Polarization State Scan
Inversion Models
Stokes Parameters (I,Q,U,V)
Telescope
Magnetic Field Estimate
Sensor (Cameras)
The keypoint of polarimetry is breaking some symmetry. When an asymmetry is induced - in the magnetic field- polarization is produced.
Physical process based on the Zeeman effect.
Norman Lockyer, 1866; Hale, 1901
Concept
Notes: Actually measured are polarization degrees across magnetically sensitive spectral lines, e.g., the line pair Fe i 6302.5 and 6301.5 Å as used on Hinode/SOT (see Lites et al., 2007) or Fe I 6173.3 Å as used on SDO/HMI (see Schou et al., 2012).

## Slide 10
Development of the Proof of Concept
Magnetograph
Ground Based Solar Telescope
2023
2022
2021
2020
2019
2018
2016
2015
2014
2017
Galileo Solar Space Telescope
Out-of-the-ecliptic Solar Observatory
Project Planning
Understanding the Origin of Solar Activity and its Impact on Geospace.
Out-of-the-Ecliptic Observations of the Solar Atmosphere, Magnetic Field and Irradiance

## Slide 11
1. Understand the evolution of the magnetic structures of the outer layer of the Sun
2. Understand the Sun's influence on Earth's Climate
3. Understand the Sun's influence on the Geospace
GSST - Scientific Objectives

## Slide 12
1. Understand the evolution of the magnetic structures of the outer layer of the Sun
1.1 Fundamental plasma processes.
1.2 Heating of the outer layers (Chromosphere to Corona)
1.3 Solar Dynamo (Global and local)
GSST - Scientific Objectives

## Slide 13
1. Understand the evolution of the magnetic structures of the outer layer of the Sun
1.1 Fundamental plasma processes.
1.2 Heating of the outer layers (Chromosphere to Corona)
1.1.1 High spatial and temporal resolution observations of the magnetic structure of the photosphere, chromosphere, transition region and corona through the solar cycle.
Scientific Observations Required
GSST - Scientific Objectives

## Slide 14
1. Understand the evolution of the magnetic structures of the outer layer of the Sun
1.3 Solar Dynamo (Global and local)
1.3.1 Wide view observations of the sun the magnetic structure of the photosphere, chromosphere, transition region and corona through the solar cycle.
Scientific Observations Required
GSST - Scientific Objectives

## Slide 15
2. Understand the Sun's influence on Earth's Climate
2.1 Effects of the magnetic structure of the outer layers of the Sun on the evolution of Earth's Atmosphere
2.1.1 Observation of the variability of the total solar irradiance.
S=1361 W/m2
All other sources ΔS=0.13 W/m2
Scientific Observations Required
GSST - Scientific Objectives

## Slide 16
3. Understand the Sun's influence on the Geospace
3.1 Effects observed inner magnetosphere due to solar structures
3.1.1 Relativistic electron flux dynamics in the outer radiation belt
3.1.2 Relativistic proton flux dynamics in the inner radiation belt
3.1.3 Energy spectra of the particles
3.1.4 Ambient magnetic field vector variations
Scientific Observations Required
GSST - Scientific Objectives

## Slide 17
Scientific Observations Required
GSST – System Drivers and critical requirements identification
Preliminary trade tree for the system drivers

## Slide 18
Scientific Observations Required
GSST – Summary of orbit parameters for OPC3-1 and OPC3-2.

## Slide 19
Scientific Observations Required
GSST – Satellite layout concepts for OPC3-1 and OPC3-2

## Slide 20
Scientific Observations Required
GSST – Imaging payloads

## Slide 21
Scientific Observations Required
GSST – Approach for the Imaging payloads
Main characteristics of the HR camera.

## Slide 22
Scientific Observations Required
GSST – Approach for the Imaging payloads
Main characteristics of the HR camera.

## Slide 23
Scientific Observations Required
GSST – Approach for the Imaging payloads
Main characteristics of the HR camera.

## Slide 24
Scientific Observations Required
GSST – Approach for the Imaging payloads
Main characteristics of the Full Disk camera.

## Slide 25
Scientific Observations Required
GSST – Approach for the Imaging payloads
Main characteristics of the Full Disk camera.

## Slide 26
Scientific Observations Required
GSST – Approach for the Imaging payloads
Main characteristics of the Full Disk camera.

## Slide 27
Understanding the Origin of Solar Activity and its Impact on Geospace.
Observations of the Solar Atmosphere, Magnetic Field and Irradiance
Galileo Solar Space Telescope | GSST
Development of Instrumentation for Solar Observations at the Brazilian National Institute for Space Research (INPE)
Notes: Incluir o Símbolo da AEB.

## Slide 28
Development of the Proof of Concept
Magnetograph
Ground Based Solar Telescope
2023
2022
2021
2020
2019
2018
2016
2015
2014
2017
Galileo Solar Space Telescope
Out-of-the-ecliptic Solar Observatory
Project Planning
Understanding the Origin of Solar Activity and its Impact on Geospace.
Out-of-the-Ecliptic Observations of the Solar Atmosphere, Magnetic Field and Irradiance

## Slide 29
Concept: Optical Design
Instrument Performance / Dynamic Range |  |  | 
 | INPE | HMI/SDO | MDI/SOHO
Parameter | Value/Range | Value/Range | Value/Range
Spatial resolution** | 1 arcsec | 1 arcsec (0”5) | 4arcsec (1.98”)
Cadence** | 90 s | 90 s 45 & 720 s | 60 s
Spectral Range | 6302.5 Å± 3 Å | 6173 Å± Å | 6767.8Å mÅ***
Spectral Bandwidth | 160 mÅ | 76 mÅ (68.8 mA x 6 =412 mA) | 95 m Å (75.6mA, each point). FWHM =159-169 mA. S.E. Evans, 1998).
BLOS | +-3.5 kG | ± 4 kG | ± 3.0-3.5 kG
BTRA | +-3.5 kG | ± 2.5 kG | ---
VLOS (long-term) | NA |  | 0.1 km/s (Beck J. G, 1998)
VLOS (instantaneous) | ± 10 m s-1 | ± 6 m s-1 | 
Notes: Actually measured are polarization degrees across magnetically sensitive spectral lines, e.g., the line pair Fe i 6302.5 and 6301.5 Å as used on Hinode/SOT (see Lites et al., 2007) or Fe I 6173.3 Å as used on SDO/HMI (see Schou et al., 2012).

## Slide 30
Wavelength Scan
Polarization State Scan
Inversion Models
Stokes Parameters (I,Q,U,V)
Telescope
Magnetic Field Estimate
Sensor (Cameras)
Concept: Optical Design
Notes: Actually measured are polarization degrees across magnetically sensitive spectral lines, e.g., the line pair Fe i 6302.5 and 6301.5 Å as used on Hinode/SOT (see Lites et al., 2007) or Fe I 6173.3 Å as used on SDO/HMI (see Schou et al., 2012).

## Slide 31
Concept: Optical Design
Notes: Actually measured are polarization degrees across magnetically sensitive spectral lines, e.g., the line pair Fe i 6302.5 and 6301.5 Å as used on Hinode/SOT (see Lites et al., 2007) or Fe I 6173.3 Å as used on SDO/HMI (see Schou et al., 2012).

## Slide 32
Proof of Concept Model Philosophy:
Similarity with the final instrument.
Use COTS as much as possible.
Much smaller instrument
Fast and easy implement and debug.
Proof of Concept: Optical Design
Notes: Actually measured are polarization degrees across magnetically sensitive spectral lines, e.g., the line pair Fe i 6302.5 and 6301.5 Å as used on Hinode/SOT (see Lites et al., 2007) or Fe I 6173.3 Å as used on SDO/HMI (see Schou et al., 2012).

## Slide 33
Design of IO-1 and IO-2.
Proof of Concept: Optical Design

## Slide 34
Design of IO-3 and IO-4.
Proof of Concept: Optical Design

## Slide 35
Proof of Concept Model Philosophy:
Similarity with the final instrument.
Use COTS as much as possible.
Much smaller instrument
Fast and easy implement and debug.
Proof of Concept: Optical Design
Wavelength Scan
Polarization State Scan
Inversion Models
Stokes Parameters (I,Q,U,V)
Telescope
Magnetic Field Estimate
Sensor (Cameras)
Notes: Actually measured are polarization degrees across magnetically sensitive spectral lines, e.g., the line pair Fe i 6302.5 and 6301.5 Å as used on Hinode/SOT (see Lites et al., 2007) or Fe I 6173.3 Å as used on SDO/HMI (see Schou et al., 2012).

## Slide 36
Proof of Concept Prototype
Wavelength Scan
Polarization State Scan
Inversion Models
Stokes Parameters (I,Q,U,V)
Telescope
Magnetic Field Estimate
Sensor (Cameras)

## Slide 37
Model: Zyla 5.5
Detector: CMOS
Active pixels: 2560 x 2160 (5.5 Megapixel)
Sensor size: 16.6 x 14.0 mm 21.8 mm diagonal
Pixel size: 6.5 μm x 6,5 μm
Pixel readout rate (fast mode): 560MHz
Quantum efficiency: 60%
Water cooled (-10°C)
Linearity: Better than 99%
Frame rate: 50 frames per second in the 2048 x 2048 resolution
High rate of acquisition of sCMOS (frame rate) and the high size of the images (due to high resolution).
Proof of Concept Prototype: Camera
Notes: Modelo: Zyla 5.5
Detector: CMOS
Resolução: 2560 x 2160 (5.5 Megapixel)
Tamanho do detector: 16.6 x 14.0 mm 21.8 mm diagonal
Tamanho do pixel: 6.5 μm
Taxa de leitura: até 560MHz
Eficiência Quântica: 60%
Refrigerado à água (-10°C)
Quantização radiométrica: 12 ou 16 bits

## Slide 38
Fabry-Perot Interferometer (Etalon)
The wavelength range of interest: | 6301.5 and 6302.5 Angstroms
Required finesse: | 50
Reflectivity: | 95%
Thickness: | TBD
Free Spectral Range (FSR) : | 2.5 Angstroms
The number of etalons you will require for your project: | 1
Required working aperture: | 70 mm
Temperature range: | 15-35 C
Physical diameter: | 74 mm
Notes: Modelo: Zyla 5.5
Detector: CMOS
Resolução: 2560 x 2160 (5.5 Megapixel)
Tamanho do detector: 16.6 x 14.0 mm 21.8 mm diagonal
Tamanho do pixel: 6.5 μm
Taxa de leitura: até 560MHz
Eficiência Quântica: 60%
Refrigerado à água (-10°C)
Quantização radiométrica: 12 ou 16 bits

## Slide 39
System Integration and alignment
Notes: Modelo: Zyla 5.5
Detector: CMOS
Resolução: 2560 x 2160 (5.5 Megapixel)
Tamanho do detector: 16.6 x 14.0 mm 21.8 mm diagonal
Tamanho do pixel: 6.5 μm
Taxa de leitura: até 560MHz
Eficiência Quântica: 60%
Refrigerado à água (-10°C)
Quantização radiométrica: 12 ou 16 bits

## Slide 40
System Integration and alignment
IO Implementation
Notes: Modelo: Zyla 5.5
Detector: CMOS
Resolução: 2560 x 2160 (5.5 Megapixel)
Tamanho do detector: 16.6 x 14.0 mm 21.8 mm diagonal
Tamanho do pixel: 6.5 μm
Taxa de leitura: até 560MHz
Eficiência Quântica: 60%
Refrigerado à água (-10°C)
Quantização radiométrica: 12 ou 16 bits

## Slide 41
System Integration and alignment
Parts validation
Notes: Modelo: Zyla 5.5
Detector: CMOS
Resolução: 2560 x 2160 (5.5 Megapixel)
Tamanho do detector: 16.6 x 14.0 mm 21.8 mm diagonal
Tamanho do pixel: 6.5 μm
Taxa de leitura: até 560MHz
Eficiência Quântica: 60%
Refrigerado à água (-10°C)
Quantização radiométrica: 12 ou 16 bits

## Slide 42
System Integration and alignment
Notes: Modelo: Zyla 5.5
Detector: CMOS
Resolução: 2560 x 2160 (5.5 Megapixel)
Tamanho do detector: 16.6 x 14.0 mm 21.8 mm diagonal
Tamanho do pixel: 6.5 μm
Taxa de leitura: até 560MHz
Eficiência Quântica: 60%
Refrigerado à água (-10°C)
Quantização radiométrica: 12 ou 16 bits

## Slide 43
System Integration and alignment
Notes: Modelo: Zyla 5.5
Detector: CMOS
Resolução: 2560 x 2160 (5.5 Megapixel)
Tamanho do detector: 16.6 x 14.0 mm 21.8 mm diagonal
Tamanho do pixel: 6.5 μm
Taxa de leitura: até 560MHz
Eficiência Quântica: 60%
Refrigerado à água (-10°C)
Quantização radiométrica: 12 ou 16 bits

## Slide 44
System Integration and alignment
Notes: Modelo: Zyla 5.5
Detector: CMOS
Resolução: 2560 x 2160 (5.5 Megapixel)
Tamanho do detector: 16.6 x 14.0 mm 21.8 mm diagonal
Tamanho do pixel: 6.5 μm
Taxa de leitura: até 560MHz
Eficiência Quântica: 60%
Refrigerado à água (-10°C)
Quantização radiométrica: 12 ou 16 bits

## Slide 45
Fabry-Perot Interferometer (Etalon)
Example of a solar disk image acquired employing the proof of concept version of the spectropolarimeter
The concentric rings indicate regions were the interference is positive for the same wavelength in the region of interest. The two Fe I lines that will be employed to estimate the magnetic field are indicated in the figure.
Notes: Modelo: Zyla 5.5
Detector: CMOS
Resolução: 2560 x 2160 (5.5 Megapixel)
Tamanho do detector: 16.6 x 14.0 mm 21.8 mm diagonal
Tamanho do pixel: 6.5 μm
Taxa de leitura: até 560MHz
Eficiência Quântica: 60%
Refrigerado à água (-10°C)
Quantização radiométrica: 12 ou 16 bits

## Slide 46
Fabry-Perot Interferometer (Etalon)
Example of a solar disk image acquired employing the proof of concept version of the spectropolarimeter
Notes: Modelo: Zyla 5.5
Detector: CMOS
Resolução: 2560 x 2160 (5.5 Megapixel)
Tamanho do detector: 16.6 x 14.0 mm 21.8 mm diagonal
Tamanho do pixel: 6.5 μm
Taxa de leitura: até 560MHz
Eficiência Quântica: 60%
Refrigerado à água (-10°C)
Quantização radiométrica: 12 ou 16 bits

## Slide 47
Fabry-Perot Interferometer (Etalon)
First reconstruction of the stokes V parameter obtained employing the proof of concept prototype (left)
SDO/NASA
Notes: Modelo: Zyla 5.5
Detector: CMOS
Resolução: 2560 x 2160 (5.5 Megapixel)
Tamanho do detector: 16.6 x 14.0 mm 21.8 mm diagonal
Tamanho do pixel: 6.5 μm
Taxa de leitura: até 560MHz
Eficiência Quântica: 60%
Refrigerado à água (-10°C)
Quantização radiométrica: 12 ou 16 bits

## Slide 48
Fabry-Perot Interferometer (Etalon)
First reconstruction of the stokes V parameter obtained employing the proof of concept prototype (left)
SDO/NASA
Notes: Modelo: Zyla 5.5
Detector: CMOS
Resolução: 2560 x 2160 (5.5 Megapixel)
Tamanho do detector: 16.6 x 14.0 mm 21.8 mm diagonal
Tamanho do pixel: 6.5 μm
Taxa de leitura: até 560MHz
Eficiência Quântica: 60%
Refrigerado à água (-10°C)
Quantização radiométrica: 12 ou 16 bits

## Slide 49
Development of the Proof of Concept
Magnetograph
Ground Based Solar Telescope
2023
2022
2021
2020
2019
2018
2016
2015
2014
2017
Galileo Solar Space Telescope
Out-of-the-ecliptic Solar Observatory
Project Planning
Understanding the Origin of Solar Activity and its Impact on Geospace.
Out-of-the-Ecliptic Observations of the Solar Atmosphere, Magnetic Field and Irradiance

## Slide 50: Optical Telescope
Model: | Ritchey-Chrétien
Aperture: | 500 mm
Focal Length: | 4000 mm
Focal Ratio: | F8
Back Focus: | 365 mm
Field of View: | 69 arc minutes
Coating: | Coating with 99% Reflection
Surface quality: | Wave front higher than 95 Strehl
Material for the primary and secondary mirrors: | A lithium aluminosilicate glass-ceramic material with thermal expansion coefficient lower than 0.05x10-6 /K between 20oC and 300oC
Notes: The rationale behind this choice was better optical performance over Schimidt-Cassegrain and Gregorian designs and compact size compared to an achromatic lens. The aperture size of 500 mm was chosen for considerations for the SNR and cadence requirements. The focal length of 4000 m gives a f/8 system. The design was done using Zemax software and was optimized for the wavelength of 630 nm.

## Slide 51
Intermediate Prototype
Model: | Ritchey-Chrétien
Aperture: | 500 mm
Focal Length: | 4000 mm
Focal Ratio: | F8
Back Focus: | 365 mm
Field of View: | 69 arc minutes
Coating: | Coating with 99% Reflection
Surface quality: | Wave front higher than 95 Strehl
Material for the primary and secondary mirrors: | A lithium aluminosilicate glass-ceramic material with thermal expansion coefficient lower than 0.05x10-6 /K between 20oC and 300oC
Notes: Modelo: Zyla 5.5
Detector: CMOS
Resolução: 2560 x 2160 (5.5 Megapixel)
Tamanho do detector: 16.6 x 14.0 mm 21.8 mm diagonal
Tamanho do pixel: 6.5 μm
Taxa de leitura: até 560MHz
Eficiência Quântica: 60%
Refrigerado à água (-10°C)
Quantização radiométrica: 12 ou 16 bits

## Slide 52
Intermediate Prototype
Notes: Modelo: Zyla 5.5
Detector: CMOS
Resolução: 2560 x 2160 (5.5 Megapixel)
Tamanho do detector: 16.6 x 14.0 mm 21.8 mm diagonal
Tamanho do pixel: 6.5 μm
Taxa de leitura: até 560MHz
Eficiência Quântica: 60%
Refrigerado à água (-10°C)
Quantização radiométrica: 12 ou 16 bits

## Slide 53
Later it will be installed in the Observatório do Pico dos Dia in partnership with the LNA
Observatory

## Slide 54
Broadband Radiometer
High absorption coating
Shutter
Baffles
Precision Aperture
Observation of the variability of the total solar irradiance
Instrument: Absolute Radiometer
Approach: Electrical Substitution Radiometer
Leading Development Team: CTE/INPE and DIDGE/INPE
Sensor Elements
High absorption cavity
.
Sensor Elements
Proof of Concept Model
Notes: Modelo: Zyla 5.5
Detector: CMOS
Resolução: 2560 x 2160 (5.5 Megapixel)
Tamanho do detector: 16.6 x 14.0 mm 21.8 mm diagonal
Tamanho do pixel: 6.5 μm
Taxa de leitura: até 560MHz
Eficiência Quântica: 60%
Refrigerado à água (-10°C)
Quantização radiométrica: 12 ou 16 bits

## Slide 55
Broadband Radiometer
High absorption coating
Notes: Modelo: Zyla 5.5
Detector: CMOS
Resolução: 2560 x 2160 (5.5 Megapixel)
Tamanho do detector: 16.6 x 14.0 mm 21.8 mm diagonal
Tamanho do pixel: 6.5 μm
Taxa de leitura: até 560MHz
Eficiência Quântica: 60%
Refrigerado à água (-10°C)
Quantização radiométrica: 12 ou 16 bits

## Slide 56
Zeeman Effect Experiment
Notes: Modelo: Zyla 5.5
Detector: CMOS
Resolução: 2560 x 2160 (5.5 Megapixel)
Tamanho do detector: 16.6 x 14.0 mm 21.8 mm diagonal
Tamanho do pixel: 6.5 μm
Taxa de leitura: até 560MHz
Eficiência Quântica: 60%
Refrigerado à água (-10°C)
Quantização radiométrica: 12 ou 16 bits

## Slide 57
Understanding the Origin of Solar Activity and its Impact on Geospace.
Observations of the Solar Atmosphere, Magnetic Field and Irradiance
Galileo Solar Space Telescope | GSST
Development of Instrumentation for Solar Observations at the Brazilian National Institute for Space Research (INPE)
Notes: Incluir o Símbolo da AEB.